## Slide 1: Response & Radiation
Goals
  Provide existing support for new HID evaluation cards
    Implement Labview Compatible Driver OCX
  Characterize Repeatability
    Single Insertion
    Multiple Insertion – Single Device
    Device Characterization
May 5, 2011

## Slide 2: ISL29028 Labview Program

## Slide 3: ISL29028 Labview Results

## Slide 4: ISL29011 Labview Program

## Slide 5: ISL29028 Labview Results

## Slide 6: VB Prototype: Radiation Measurement

## Slide 7: Repeatability – Single Insertion – White – Low Lux
 | Proximity Curve | Standard Deviation
X28 IRDR=110ma |  | 
X11 IRDR=100ma/DC |  | 
X28: < 1 lsb -100ma, x11 < 2%
Chart: 
Chart: 
Chart: 
Chart: 
Range Switch

## Slide 8: Repeatability – Multi Insertion – White – Low Lux
 | Proximity Curve | Standard Deviation
X28 IRDR=110ma |  | 
X11 IRDR=100ma/DC |  | 
X28: < ½%, x11 < 2%
Chart: 
Chart: 

## Slide 9: Lot distribution – 20 pieces – White – Low Lux
 | Proximity Curve | Standard Deviation
X28 IRDR=110ma |  | 
X11 IRDR=100ma/DC |  | 
Stddev: x28 < 4% FSR; x11 < 5%
Chart: 
Chart: 
Chart: 
Chart: